# Anexa nr. 1

# Rezumatul activității și a rezultatelor obținute în subprogram în anul 2025

___ Soluții tehnice inovative pentru alimentarea sigură cu energie si decarbonizarea sistemului energetic al Republicii Moldova (STICS Energy)__

(denumirea subprogramului)

Codul subprogramului ___030201__________

Cercetările realizate în etapa actuală a subprogramului au permis obţinerea unor rezultate de importanţă majoră pentru sectorul energetic. În rezultatul cercetărilor în domeniul de asigurare cu energie termică s-a realiza modelul de simulare a sistemului centralizat de termoficare bazat pe parametrii SACET Chişinău, care a permis optimizarea integrării surselor regenerabile şi sistemelor de stocare a energie pentru a păstra o eficienţă înaltă a CET-1 şi CET-2 din Chişinău. Sistemul hibrid de termoficare dezvoltat permite reducerea costului nivelat al energiei de la 4.32 lei per kWh la 3.44 lei per kWh, adică cu 20% mai puţin. Substituirea sistemelor fotovoltaice din cadrul sistemului hibrid de termoficare cu sisteme fotovoltaice-termice permite creşterea generării de energie electrică cu 5-12%, crescând şi generarea de energie termică, dar şi permite o reducere mai pronunţată a emisiilor de CO2. Un alt rezultat important este dezvoltarea cogenerării la nivel de raioane în paralel cu sisteme de termoficare centralizată de mici dimensiuni. În rezultatul cercetărilor s-a stabilit, că dezvoltarea acestor sisteme la nivel de centre raionale va crea o capacitate de generare a energiei termice de 1781MW şi de energie electrică de 1203MW, ceea ce va creşte cu peste 50% securitatea energetică a ţării. Cercetările privind implementarea pompelor de căldură la nivel extins în clădirile rezidenţiale din Chişinău arată că va conduce la o reducere de sarcină termică cu 40-50%, ceea ce va afecta eficienţa centralelor termice din SACET. În rezultatul a fost propus o creştere graduală a pompelor de căldură cu recomandări şi măsuri necesare pentru a păstra un nivel de performanţă optimă a centralelor. Analiza impactului sistemelor de stocare a energiei electrice în reţea a scos în evidenţă faptul, că indiferent de capacitatea acestora nu este posibil de acumulat toată energia surselor intermitente disponibilă în vederea livrare ulterioare a acesteia în rețea pentru acoperirea deficitului de putere și energie. Astfel, pentru cazul concret, când γ=1 , α=40% (caz corespunzător angajamentului acoperirii cu energia SRE 30% din cerere către anul 2030, sistemul de stocare cu capacitatea de 100 – 500 MWh eliberează în rețea maxim 27.2 – 34,2 % energie din 100% energie disponibilă în dependență de putere și viteza de acumulare a energiei, luată în studiu la nivelul de 50%/h și 100%/h față de puterea SSE. S-a determinat nodurile de reţea în care poate fi crescută puterea până la 1.5 din nominal fără a afecta parametrii de calitate şi siguranţa în alimentare. Din 97 de noduri de reţea existente în partea de sud a ţării s-a stabilit, că există 36 de noduri, care permit creşterea capacităţi cu 50% peste nominal. În etapa data a cercetărilor s-a elaborate 7 scenarii de dezvoltare a interconexiunilor transfrontaliere şi fortificarea reţelelor interioare de transport a energiei electrice. Toate sarcinile au fost realizate în plin volum. The research carried out in the current stage of the sub-program has allowed obtaining results of major importance for the energy sector. As a result of the research in the field of thermal energy supply, a simulation model of the district heating system based on the SACET Chisinau parameters was developed, which allowed optimizing the integration of renewable sources and energy storage systems to maintain high efficiency of CET-1 and CET-2 in Chisinau. The developed hybrid heating system allows reducing the levelized cost of energy from 4.32 lei per kWh to 3.44 lei per kWh, i.e. by 20% less. Substituting photovoltaic systems within the hybrid heating system with photovoltaic-thermal systems allows increasing the generation of electricity by 5-12%, also increasing the generation of thermal energy, but also allows a more pronounced reduction of CO2 emissions. Another important result is the development of cogeneration at the district level in parallel with small-scale centralized heating systems. As a result of the research, it was established that the development of these systems at the level of district centers will create a thermal energy generation capacity of 1781MW and 1203MW of electricity, which will increase the country's energy security by over 50%. Research on the implementation of heat pumps on a large scale in residential buildings in Chisinau shows that it will lead to a reduction in thermal load by 40-50%, which will affect the efficiency of thermal power plants in SACET. As a result, a gradual increase in heat pumps was proposed with recommendations and measures necessary to maintain an optimal level of plant performance. The analysis of the impact of electricity storage systems on the network highlighted the fact that, regardless of their capacity, it is not possible to accumulate all the energy of intermittent sources available for subsequent delivery to the network to cover the power and energy deficit. Thus, for the specific case, when γ=1, α=40% (case corresponding to the commitment to cover 30% of demand with RES energy by 2030), the storage system with a capacity of 100 – 500 MWh releases into the network a maximum of 27.2 – 34.2% energy from 100% available energy depending on the power and the energy accumulation speed, taken into study at the level of 50%/h and 100%/h compared to the SSE power. The network nodes where the power can be increased up to 1.5 of the nominal without affecting the quality parameters and security of supply were determined. Out of 97 existing network nodes in the southern part of the country, it was established that there are 36 nodes that allow for an increase in capacity by 50% above the nominal. In the given stage of the research, 7 scenarios for the development of cross-border interconnections and the strengthening of internal transport networks were developed of electricity. All tasks were completed in full volume.

Coordonatorul subprogramului

de cercetare 			           		       _Dr. Tîrşu Mihai______           ________			                   			    (numele, prenumele) 		        (semnătura)

Data: ___22.01.2026______